## test ok
Test name | estimates for: IgM/IgG | Antibodies detected | Nr. samples | Sensitivity | Specificity | Accuracy | VPP_02 | VPP_05 | VPP_10 | VPP_20 | VPP_30 | VPN_02 | VPN_05 | VPN_10 | VPN_20 | VPN_30 | Test used | Antigen for detection | Sample | NOTE
Bin Lou et al. They use the following tests:
- ELISA Ab (Beijing Wantai kit) |  | Total antibody | 380 | 0.975 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99949 | 0.99869 | 0.99723 | 0.99379 | 0.9894 | ELISA | RBD domain | Serum
- CMIA-Ab (Xiamen InnoDx Biotech kit) |  | Total antibody | 380 | 0.963 | 0.993 |  | 0.73737 | 0.87865 | 0.9386 | 0.97175 | 0.98332 | 0.99924 | 0.99804 | 0.99588 | 0.99077 | 0.98428 | CMIA
- Combined |  | Total antibody | 380 | 0.988 | 0.943 |  | 0.26131 | 0.47706 | 0.65823 | 0.8125 | 0.88136 | 0.99974 | 0.99933 | 0.99859 | 0.99683 | 0.99458
- ELISA IgM (Beijing Wantai kit) | IgM |  | 380 | 0.925 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99847 | 0.99607 | 0.99174 | 0.9816 | 0.96886 | ELISA | RBD domain
- CMIA-IgM (Xiamen InnoDx Biotech kit) | IgM |  | 380 | 0.863 | 0.993 |  | 0.71559 | 0.86647 | 0.93197 | 0.96857 | 0.98143 | 0.99719 | 0.99279 | 0.9849 | 0.96666 | 0.94417 | CMIA
- Combined | IgM |  | 380 | 0.938 | 0.971 |  | 0.39763 | 0.62995 | 0.78232 | 0.88994 | 0.93271 | 0.9987 | 0.99665 | 0.99296 | 0.98429 | 0.97336
- ELISA IgG (Beijing Wantai kit) | IgG |  | 380 | 0.888 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99772 | 0.99414 | 0.98771 | 0.97276 | 0.9542 | ELISA | N protein
- Combined | IgG |  | 380 | 0.938 | 0.99 |  | 0.65686 | 0.83156 | 0.91245 | 0.9591 | 0.97573 | 0.99872 | 0.99671 | 0.99309 | 0.98458 | 0.97386
Dachuan Lin et al (Darui Biotech CLIA) | IgG | IgG and IgM | 159 | 0.8228 | 0.975 |  | 0.4018 | 0.634 | 0.78526 | 0.89163 | 0.9338 | 0.9963 | 0.99053 | 0.98021 | 0.95654 | 0.92774 | CLIA | N protein | Serum
| IgM |  | 159 | 0.8228 | 0.8125 |  | 0.082195 | 0.18763 | 0.32777 | 0.52314 | 0.65286 | 0.99557 | 0.98865 | 0.97634 | 0.9483 | 0.91452 | CLIA | N protein | Serum
Wanbing Liu et al (spike protein) IgG | IgG | IgG | 314 | 0.743 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99478 | 0.98665 | 0.97224 | 0.93963 | 0.90078 | ELISA | Spike protein | Serum
Wanbing Liu et al (spike protein) IgM | IgM | IgM | 314 | 0.771 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99535 | 0.98809 | 0.97519 | 0.94585 | 0.91063 | ELISA | Spike protein | Serum
Wanbing Liu et al (nucleocapsid) IgG | IgG | IgG | 314 | 0.701 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99393 | 0.98451 | 0.96785 | 0.93045 | 0.88641 | ELISA | N protein | Serum
Wanbing Liu et al (nucleocapsid) IgM | IgM | IgM | 314 | 0.682 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99355 | 0.98354 | 0.96587 | 0.92635 | 0.88006 | ELISA | N protein | Serum
Zhao et al vedi REVIEW | Total Ab | Total Ab, IgG and IgM | 384 | 0.931 | 0.991 |  | 0.67857 | 0.84483 | 0.91996 | 0.96277 | 0.97794 | 0.99858 | 0.99635 | 0.99232 | 0.98289 | 0.97102 | ELISA | RBD and N proteins | Plasma
Zhao et al vedi REVIEW | IgG |  | 383 | 0.647 | 0.99 |  | 0.56904 | 0.773 | 0.87788 | 0.94178 | 0.96519 | 0.99278 | 0.98158 | 0.96189 | 0.91815 | 0.86744 | ELISA | RBD and N proteins | Plasma
Zhao et al vedi REVIEW | IgM |  | 370 | 0.872 | 0.986 |  | 0.55969 | 0.76626 | 0.87375 | 0.93966 | 0.96389 | 0.99736 | 0.99321 | 0.98578 | 0.96857 | 0.9473 | ELISA | RBD and N proteins | Plasma
Creative Diagnostics IgG | IgG | IgG | 46 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | ELISA | Whole virus lysate | serum, plasma | http://img2.creative-diagnostics.com/pdf/DEIASL019.pdf
Epitope Diagnostic IgG | IgG | IgG | 84 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | ELISA | N protein | serum | https://static1.squarespace.com/static/52545951e4b021818110f9cf/t/5e83673f1f0a06307706ad70/1585669964035/KT-1032+IVD+CE+V7_.pdf
Advaite |  | IgG/IgM | 36 | 0.98 | 1 | 0.944 | 1 | 1 | 1 | 1 | 1 | 0.99959 | 0.99895 | 0.99778 | 0.99502 | 0.9915 | LFIA | N protein | Whole blood, serum, plasma | Research use only (IVD), not approved for diagnostic use; https://advaite.com/pipeline/diagnostics/

## test eliminati
Test name | estimates for: IgM/IgG | Antibodies detected | Nr. samples | Sensitivity | Specificity | Accuracy | VPP_02 | VPP_05 | VPP_10 | VPP_20 | VPP_30 | VPN_02 | VPN_05 | VPN_10 | VPN_20 | VPN_30 | Test used | Antigen for detection | Sample | NOTE
Finecare antibody test W276 |  | IgG and IgM | 529 | 0.8715 | 0.9905 | 0.9187 | 0.65183 | 0.82842 | 0.91066 | 0.95822 | 0.9752 | 0.99736 | 0.99322 | 0.98579 | 0.96859 | 0.94733 | lateral flow, fluorescence immunoassay | SARS-CoV-2, not specified | Whole blood, serum, plasma
Cellex test |  | IgG/IgM | 378 | 0.938 | 0.96 |  | 0.32367 | 0.55241 | 0.72265 | 0.85428 | 0.9095 | 0.99868 | 0.99661 | 0.99288 | 0.98411 | 0.97307 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
AllTest | IgG | IgG/IgM | 70 | 1 | 0.98 | 0.986 | 0.50505 | 0.72464 | 0.84746 | 0.92593 | 0.95541 | 1 | 1 | 1 | 1 | 1 | LFIA | RBD domain | Whole blood, serum, plasma
| IgM |  | 70 | 0.85 | 0.96 | 0.929 | 0.30249 | 0.52795 | 0.70248 | 0.84158 | 0.90106 | 0.99682 | 0.99184 | 0.98294 | 0.96241 | 0.93724
Bin Lou et al. They use the following tests:
- LFIA-Ab (Beijing Wantai kit) |  | Total antibody | 380 | 0.975 | 0.952 |  | 0.29306 | 0.51669 | 0.69296 | 0.83548 | 0.89696 | 0.99946 | 0.99862 | 0.99709 | 0.99348 | 0.98887 | LFIA | RBD domain
- LFIA-IgM (Beijing Wantai kit) | IgM |  | 380 | 0.888 | 0.981 |  | 0.48818 | 0.71097 | 0.83853 | 0.92116 | 0.95245 | 0.99768 | 0.99403 | 0.98747 | 0.97225 | 0.95335 | LFIA | RBD domain
- LFIA-IgG (Beijing Wantai kit) | IgG |  | 380 | 0.863 | 0.995 |  | 0.77888 | 0.90084 | 0.95044 | 0.97735 | 0.98666 | 0.9972 | 0.99281 | 0.98493 | 0.96672 | 0.94428 | LFIA | N protein
Acro Biotech JusCheck | IgM | IgG/IgM | 70 | 0.85 | 0.96 |  | 0.30249 | 0.52795 | 0.70248 | 0.84158 | 0.90106 | 0.99682 | 0.99184 | 0.98294 | 0.96241 | 0.93724 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
| IgG |  | 70 | 1 | 0.98 |  | 0.50505 | 0.72464 | 0.84746 | 0.92593 | 0.95541 | 1 | 1 | 1 | 1 | 1
Biomedomics | IgM/IgG | IgG/IgM | 525 | 0.8866 | 0.9063 |  | 0.16185 | 0.33245 | 0.51252 | 0.70287 | 0.80218 | 0.99745 | 0.99346 | 0.98629 | 0.96967 | 0.9491 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
CTK Biotech |  | IgG/IgM |  | 0.969 | 0.994 |  | 0.76722 | 0.89474 | 0.94721 | 0.97583 | 0.98576 | 0.99936 | 0.99836 | 0.99655 | 0.99226 | 0.98681 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | manca nr campioni
Liming Bio | IgM | IgG/IgM | 753 | 0.7195 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99431 | 0.98545 | 0.96978 | 0.93447 | 0.89269 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
| IgG |  | 754 | 0.933 | 0.987 |  | 0.59427 | 0.79068 | 0.88857 | 0.94721 | 0.96851 | 0.99862 | 0.99644 | 0.99251 | 0.98331 | 0.97173
Jiangsu Medomics Medical Technologies | IgM/IgG | IgG/IgM | 495 | 0.8866 | 0.9063 |  | 0.16185 | 0.33245 | 0.51252 | 0.70287 | 0.80218 | 0.99745 | 0.99346 | 0.98629 | 0.96967 | 0.9491 | LFIA | RBD domain | Whole blood, serum, plasma | https://onlinelibrary.wiley.com/doi/full/10.1002/jmv.25727
Pharmact | days 4-10 IgM | IgG/IgM |  | 0.7 | 0.998 |  | 0.87719 | 0.94851 | 0.97493 | 0.9887 | 0.99338 | 0.9939 | 0.98443 | 0.96768 | 0.9301 | 0.88587 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | https://pharmact-health.com/it/sars-cov-2-rapid-test/
| days 11-24 IgM |  |  | 0.923 | 0.998 |  | 0.90402 | 0.96046 | 0.98087 | 0.99141 | 0.99497 | 0.99843 | 0.99596 | 0.9915 | 0.98108 | 0.96799
| days 11-24 IgG |  |  | 0.986 | 0.998 |  | 0.90959 | 0.96289 | 0.98207 | 0.99195 | 0.99529 | 0.99971 | 0.99926 | 0.99844 | 0.99651 | 0.99402
Genbody | Days 1-6 | IgG/IgM |  | 0.5 | 0.975 |  | 0.28986 | 0.51282 | 0.68966 | 0.83333 | 0.89552 | 0.98964 | 0.97372 | 0.94609 | 0.88636 | 0.81982 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | http://genbody.co.kr/bbs/board.php?bo_table=human01&wr_id=38
| Day 7 onwards |  |  | 0.917 | 0.975 |  | 0.4281 | 0.65876 | 0.80298 | 0.90167 | 0.94019 | 0.99827 | 0.99554 | 0.99063 | 0.97916 | 0.9648
Sure Biotech (USA) | IgM | IgG/IgM |  | 0.82 | 0.94 | 0.923 | 0.21809 | 0.41837 | 0.60294 | 0.77358 | 0.85417 | 0.99611 | 0.99002 | 0.97917 | 0.95431 | 0.92416 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
| IgG |  |  | 0.94 | 0.97 | 0.963 | 0.39004 | 0.62252 | 0.77686 | 0.88679 | 0.93069 | 0.99874 | 0.99676 | 0.99317 | 0.98477 | 0.97418
Sensif Self (IN) | IgM | IgG/IgM | 1300 | 0.82 | 0.96 | 0.928 | 0.29496 | 0.51899 | 0.69492 | 0.83673 | 0.89781 | 0.99619 | 0.99023 | 0.97959 | 0.95522 | 0.92562 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | Sul sito dati diversi dal file word https://sensingself.me/covid.php
| IgG |  | 1300 | 0.93 | 0.975 | 0.965 | 0.43155 | 0.66192 | 0.80519 | 0.90291 | 0.94098 | 0.99854 | 0.99624 | 0.99209 | 0.98237 | 0.97015 |  |  |  | Sul sito dati diversi dal file word https://sensingself.me/covid.php
SD Biosensor (KR) | after 7 days from the symptom onset | IgG/IgM | 63 | 0.818 | 0.967 |  | 0.33593 | 0.56609 | 0.73363 | 0.86105 | 0.91397 | 0.99617 | 0.99019 | 0.97952 | 0.95506 | 0.92536 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | Sul sito dati diversi dal file word http://sdbiosensor.com/xe/product/7662
| after 8 days from the symptom onset |  | 57 | 0.926 | 0.967 |  | 0.36414 | 0.59627 | 0.75715 | 0.87524 | 0.92323 | 0.99844 | 0.99599 | 0.99157 | 0.98123 | 0.96824 |  |  |  | Sul sito dati diversi dal file word http://sdbiosensor.com/xe/product/7662
| after 10 days from the symptom onset |  | 53 | 0.957 | 0.967 |  | 0.37179 | 0.60417 | 0.76316 | 0.87879 | 0.92553 | 0.99909 | 0.99767 | 0.99508 | 0.98901 | 0.9813 |  |  |  | Sul sito dati diversi dal file word http://sdbiosensor.com/xe/product/7662
Dynamiker (CH) |  | IgG/IgM |  |  |  | >0.92 | [10 empty] | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
Xiamen AmonMed Biotechnology | IgM/IgG | IgG/IgM | 227 | 0.9313 | 0.984 | 0.951 (Kappa consistency analysis) | 0.54294 | 0.75391 | 0.86608 | 0.9357 | 0.96146 | 0.99858 | 0.99634 | 0.9923 | 0.98285 | 0.97095 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
| IgM |  | 227 | 0.7843 | 0.984 | 0.873 (Kappa consistency analysis) | 0.5001 | 0.72067 | 0.84488 | 0.92455 | 0.95456 | 0.99555 | 0.98859 | 0.97622 | 0.94805 | 0.91412
| IgG |  | 227 | 0.8431 | 0.992 | 0.909 (Kappa consistency analysis) | 0.68262 | 0.84725 | 0.92132 | 0.96343 | 0.97834 | 0.99678 | 0.99174 | 0.98273 | 0.96196 | 0.93652
Sugentech SGTi-flex |  | IgM/IgG | 250 | 0.91 | 0.9667 | 0.944 | 0.35803 | 0.58987 | 0.75225 | 0.87232 | 0.92133 | 0.9981 | 0.99512 | 0.98976 | 0.97725 | 0.96163 | LFIA | SARS-CoV-2, not specified | Serum or plasma | http://sugentech.com/products/products-view.php?ct=7&target=32
Zhejiang Orient Gene Biotech | IgM | IgG/IgM | 113 | 0.879 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99754 | 0.99367 | 0.98673 | 0.97064 | 0.9507 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | https://www.accesswire.com/579898/Aytu-BioScience-Secures-Exclusive-US-Distribution-Agreement-for-Coronavirus-2019-COVID-19-Point-of-Care-Rapid-Test
| IgG |  | 113 | 0.972 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99943 | 0.99853 | 0.9969 | 0.99305 | 0.98814
ASSURANCE AB™ COVID-19 IgM/IgG Rapid Antibody Test |  | IgM/IgG |  | 0.93 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99857 | 0.99633 | 0.99228 | 0.9828 | 0.97087 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | Restricted to test laboratories and healthcare workers at the point of care
Biolidics |  | IgG/IgM |  | 0.9154 | 0.9702 | 0.9509 | 0.38533 | 0.61785 | 0.7734 | 0.88479 | 0.9294 | 0.99822 | 0.99543 | 0.9904 | 0.97867 | 0.96398 | LFIA | SARS-CoV-2, not specified | whole blood, serum, and plasma | https://www.biolidics.com/2019-ncov-igg-igm-antibody-detection-kit
Biotest RightSign | IgG | IgG/IgM | 446 | 1 | 0.995 | 0.996 | 0.80321 | 0.91324 | 0.95694 | 0.98039 | 0.98847 | 1 | 1 | 1 | 1 | 1 | LFIA | SARS-CoV-2, not specified | whole blood, serum, and plasma
| IgM |  | 456 | 0.918 | 0.992 | 0.978 | 0.70076 | 0.85794 | 0.92727 | 0.96632 | 0.98007 | 0.99832 | 0.99567 | 0.9909 | 0.97975 | 0.96579 |  |  |  | http://en.biotests.com.cn/newsitem/278470281
Sinocare | IgG+IgM | IgG/IgM |  | 0.963 | 0.983 |  | 0.53619 | 0.74883 | 0.8629 | 0.93404 | 0.96044 | 0.99923 | 0.99802 | 0.99584 | 0.99068 | 0.98412 | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma | https://www.sinocareintl.com/Point-of-care-testing/sars-cov-2-antibody-test-strip
| IgG+IgM |  |  | 0.95 | 0.983 |  | 0.53281 | 0.74627 | 0.86129 | 0.9332 | 0.95992 | 0.99896 | 0.99733 | 0.99438 | 0.98744 | 0.97867
Shenzhen Yhlo Biotech IgG solution | IgG | IgG | 1216 | >0.95 | >0.95 | [11 empty] | CLIA | SARS-CoV-2, not specified | Serum | https://www.amp-asbach.de/index_files/flyer_cov2.pdf
Shenzhen Yhlo Biotech IgM solution | IgM | IgM | 1216 | >0.90 | >0.95 | [11 empty] | CLIA | SARS-CoV-2, not specified | Serum
Beijing Wantai Ab ELISA test | Total Ab | Total antibodies | 643 | 0.954 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99906 | 0.99758 | 0.99491 | 0.98863 | 0.98067 | ELISA | SARS-CoV-2, not specified | serum, plasma | http://www.dbaitalia.it/newsletter/sars-cov-2_ab_elisa_v1-ce_ifu.pdf
Beijing Wantai IgM ELISA test | IgM | IgM | 643 | 0.868 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99731 | 0.9931 | 0.98555 | 0.96805 | 0.94646 | ELISA | SARS-CoV-2, not specified | serum, plasma | http://www.dbaitalia.it/newsletter/sars-cov-2_igm_elisa_v1-ce_ifu.pdf
Creative Diagnostics total antibody | Total Ab | Total antibodies | 643 | 0.945 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.99888 | 0.99711 | 0.99393 | 0.98644 | 0.97697 | ELISA | SARS-CoV-2, not specified | serum, plasma | http://img2.creative-diagnostics.com/pdf/DEIASL024.pdf
Ray Biotech - Finger Prick IgM | IgM | IgM | 23 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | LFIA | N protein | whole blood
Ray Biotech - Finger Prick IgG | IgG | IgG | 23 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | LFIA | N protein | whole blood
Ray Biotech IgM | IgM | IgM | 23 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | LFIA | N protein | whole bood and serum
Ray Biotech IgG | IgG | IgG | 23 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | LFIA | N protein | whole bood and serum
Epitope Diagnostic IgM | IgM | IgM | 74 | 0.45 | 1 |  | 1 | 1 | 1 | 1 | 1 | 0.9889 | 0.97187 | 0.94241 | 0.87912 | 0.80925 | ELISA | SARS-CoV-2, not specified | serum | https://static1.squarespace.com/static/52545951e4b021818110f9cf/t/5e83679f6894db46dd9207a6/1585670061397/KT-1033+IVD+CE+V6.pdf

## dati mancanti, non utili
Test name | estimates for: IgM/IgG | Antibodies detected | Nr. samples | Antigen for detection | Sample | NOTE
Wei Yee Wan et al |  | Usa kit commerciali | Total Ab (ELISA), IgG and IgM (IIFT) | SARS-CoV ELISA and IIFT | SARS-CoV-2, not specified | Serum
Quan-xin Long et al |  | MCLIA kit supplied by Bioscience/Axceed 260 Bioscience---> non trovo il primo kit mentre il secondo penso non sia specifico per covid | IgG and IgM | MCLIA | N and spike proteins | Serum
He-wei Jiang et al |  | No test, usa proteome microarray | IgG and IgM | Proteome microarray | 18 out of the 28 predicted SARS-CoV-2 proteins | Serum
Bin Lou et al |  | Usa kit già riportati | Total Ab, IgG, IgM (ELISA and LFIA), Total Ab, IgM (CMIA) |  |  | Serum
Snibe Diagnostic | IgM/IgG | non si trova manuale nel sito web, http://www.snibe.com/zh_en/en_newsView.aspx?id=576 | IgG/IgM | CLIA | Not found | Whole blood, serum, plasma
Innovita Biological Technology |  | non si trova manuale nel sito web, http://www.innovita.com.cn/index.html | IgG/IgM | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
Stadlbauer et al |  | non ci sono dati di sensitivity e specificity | IgG | ELISA | RBD and whole spike protein | Serum
Getein test |  | non si trova il manuale | IgG/IgM | LFIA | N and spike proteins | Whole blood, serum, plasma
Wondfo test |  | non si trova il manuale, richiede registrazione obbligatoria al sito | IgG/IgM | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
Gao et al vedi REVIEW |  |  | IgG and IgM | CLIA, ELISA, LFIA | N and spike proteins | Serum
Pan et al vedi REVIEW |  | non ci sono dati di sensitivity e specificity | IgG and IgM | LFIA (Zhuhai Livzon Diagnositic Inc.) | SARS-CoV-2, not specified | Whole blood, serum, plasma
To et al vedi REVIEW |  | no test | IgG and IgM | EIA | RBD and N proteins | Serum
Xiao et al vedi REVIEW |  | usano test di Shenzhen Yahuilong Biotechnology | IgG/IgM | CLIA (Shenzhen Yahuilong Biotechnology Co., Ltd) | SARS-CoV-2, not specified | Blood, not specified
Finecare W277 | IgM | non si trova il manuale | not found
EUROIMMUN |  | Okba et al hanno testato le beta versions https://www.medrxiv.org/content/10.1101/2020.03.18.20038059v1.full.pdf | IgG and IgA | ELISA | S1 domain | Whole blood, serum, plasma
Abcam (Abs for ELISA) |  | manuale https://www.abcam.com/novel-coronavirus-igg-antibody-detection-kit-sars-cov-2-ab272243.html#top-706 | IgM | LFIA | N protein | Whole blood, serum, plasma
Abcam rapid test |  | manuale https://www.abcam.com/novel-coronavirus-igg-antibody-detection-kit-sars-cov-2-ab272243.html#top-707 | IgG | LFIA | N protein | Whole blood, serum, plasma
Khan et al |  | mancano i controlli | IgG | Antigen microarray | Coronaviruses antigens (provided by Sino Biological) | Serum
Biomerica Rapid POC IgM/IgG antibody test |  |  | IgM/IgG | LFIA | not found | not found
Biotime SARS-CoV-2 IgG/IgM kit |  |  | IgG/IgM | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
BioEasy Biotech |  | http://en.bioeasy.com.tr/2019-novel-coronavirus-2019-ncov-ab-gica-rapid-test-kit/ | IgG/IgM | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
Eagle Biosciences IgM ELISA | IgM | https://eaglebio.com/product/coronavirus-covid-19-igm-elisa-assay-kit/ | IgM | ELISA | SARS-CoV-2, not specified | Serum
Eagle Biosciences IgG ELISA | IgG | https://eaglebio.com/product/coronavirus-covid-19-igg-elisa-assay/ | IgG | ELISA | SARS-CoV-2, not specified | Serum
MayoClinic | not found | https://www.startribune.com/u-mayo-ready-covid-19-antibody-tests-in-minnesota/569233992/ | NA | ELISA | not found | not found
Guangdong Hecin-Scientific |  | https://www.tandfonline.com/doi/full/10.1080/22221751.2020.1745095 | IgM | LFIA | not found | serum, plasma
Premier Biotech |  |  | IgG/IgM | LFIA | not found | Whole blood, serum, plasma
PRIMA test | IgG | sembra stesso campione di AllTest | IgG/IgM | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
| IgM | sembra stesso campione di AllTest
SCREEN test | IgG | sembra stesso campione di AllTest | IgG/IgM | LFIA | SARS-CoV-2, not specified | Whole blood, serum, plasma
| IgM | sembra stesso campione di AllTest
Sona Nanotech |  | non è per la detection degli anticorpi
Mammoth Biosciences |  | non è per la detection degli anticorpi
Haveli et al vedi REVIEW |  | Case report | IgG and IgM | Immunofluorescence | Whole virus on Vero cells | serum
Lee et al vedi REVIEW |  | Case report | IgG/IgM | LFIA (ALLTEST) | RBD domain | Serum
Thevarajan et al vedi REVIEW |  | Case report | IgG and IgM | Immunofluorescence | Whole virus on Vero cells | Serum